Setting 22’ Diameter Dome piers

Layout pier points, dig, and set pier forms

Digging of pier holes

Set anchor bolts

Pour concrete and cure

Place treated base board and level with ½” gravel

Bolt on framed, or finished knee wall sections